# BRONZE

LIQUID LEVEL GAUGE

20-250 SERIES HEAVY PATTERN

## Features:    Available in 1/2" or 3/4" MNPT fittings

Ball checks standard

Polished finish

CRN Registered

Rated:  200 psig @ 400°F,400 psig @ 100°F

Note: Service ratings are subject to pressure/

temperature ratings of gauge glass and

glass washers.

### Part No.        Pipe Size         Glass OD

20-251            1/2"              5/8”

20-254            3/4"              3/4"

*Gauges also available in Stainless Steel or Carbon Steel

Stemmerich, Inc.

4728 Gravois Avenue · St. Louis, MO. 63116

800-325-9528 · Fax 314-832-7799 · www.stemmerich.com

Branch Offices:  Kansas City, KS